Town of Avon

Final Design	Staff Report

September 3, 1996 Planning & Zoning Commission meeting

| Report date | July 28, 2026 |
| --- | --- |
| Project type | Repair/enclosure of existing structure |
| Legal description | Lot 29, Block 1, Benchmark at Beaver Creek |
| Zoning | IC (Industrial Commercial) |
| Address | 950 Nottingham Road |

## Introduction

This project is both a repair and enclosure of an existing storage area attached to the south elevation of the main Kaman Supply building. The main building is a manufactured metal building with a T111 cornice extending around the building. The storage area is open on three sides, with a roof supported by steel posts, plus the T111 cornice. It is used for lengths of pipe, crated materials and miscellaneous equipment. Because of wind loading and lack of bracing, the structure has actually racked slightly to the east. Installing cross bracing and siding will provide adequate wind bracing, as well as screening the supplies stored therein.

This project would involve pouring a new footing around the perimeter of the area, installing cross bracing between the roof support posts, and extending siding (to match the existing) to enclose the area, and installing two access doors. The cornice would remain in place, and a band of translucent siding will be added just below the cornice to allow natural lighting.

## Design Review Considerations

According to the Commission’s Procedures, Rules & Regulations, Section 6.10, the Commission shall consider the following items in reviewing the design of this project:

- Conformance with the Zoning Code and other applicable regulations of the Town.

- Project conforms with zoning and other applicable regulations.

- The suitability of the improvement, including type and quality of materials of which it is to be constructed and the site upon which it is to be located.

- Proposed materials and colors match existing approved design.

- The compatibility of the design to minimize site impacts to adjacent properties.

- The enclosure reduces offsite visual impacts by screening materials now stored outside.

- The compatibility of the proposed improvements with site topography.

- n/a

- The visual appearance of any proposed improvement as viewed from adjacent and neighboring properties and public ways.

- The enclosure improves the appearance of the site from neighboring properties and public ways.

- The objective that no improvement be so similar or dissimilar to others in the vicinity that values, monetary or aesthetic will be impaired.

- n/a

- The general conformance of the proposed improvements with the adopted Goals, Policies and Programs for the Town of Avon.

- n/a

## Staff Recommendation

Approve as presented.

## Recommended Motion

Approve the repair and enclosure to the Kaman Supply building as described on the plan set dated August  , 1996, for Lot 29, Block 1, Benchmark at Beaver Creek Subdivision.

If you have any questions regarding this project or any planning matter, please call me at

949-4280 (extension 129), or stop by the Community Development Department.

Respectfully submitted,

Michael Matzko
Director of Community Development

## Planning & Zoning Commission Action

q	Approved as submitted	q	Approved with conditions (noted below)

q	Denied	q	Tabled	q	Withdrawn by applicant

Conditions of approval, reasons for tabling or withdrawal of application, or basis for denial (refer to code or guidelines by number):

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

Signed:

_________________________________	Date __________
Jack Hunn, Chair

Attest:

_________________________________	Date __________
Sue Railton, Secretary